Type I

w/ P.O.U.

Softener for Tea

TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | # 2174 | 5/2/07 | 273835 |
| Address: |  | Tested By: |  |
| Oracle Road FSU 4585 N. Oracle Rd Tuscon, AZ 85705 |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |

| Recommendation: |  |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Petco Water Sample | Golfsmith Water Sample | McDonald’s Water Sample | Recommended Max Levels |
| --- | --- | --- | --- | --- |
| Fluoride, ppm | 0.4 | 0.4 | 0.4 | 2 ppm |
| Chloride, ppm | 65 | 61 | 62 | 250 ppm |
| Nitrite, ppm | ND | ND | ND | 1 ppm as N |
| Nitrate, ppm | 1.7 | 1.9 | 1.7 | 10 ppm as N |
| Sulfate, ppm | 118 | 111 | 129 | 250 ppm |
| Sodium, ppm | 55 | 54 | 58 | 250 ppm |
| Ammonia as Chloramine | ND | ND | ND | .5 ppm |
| Chlorine, ppm | ND | ND | ND | Detectable |
| Alkalinity, ppm | 115 | 110 | 105 | 150 ppm |
| Total Dissolved Solids, ppm | 300 | 290 | 300 | 500 ppm |
| Hardness, ppm | 164 | 154 | 180 | 100 ppm |
| pH | 7.6 | 7.8 | 7.9 | 6.5 – 8.5 ppm |
| Turbidity | 0.00 | 1.0 | 0.00 | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com