TECHNICAL SERVICE REPORT

Water Analysis

Tel: (800) 635-4017

www.selectoinc.com

| Customer: CFA | Location: 1621 |  |
| --- | --- | --- |
| Address: Foxcroft, W.V. |  | Tested by: AR |
| Telephone: 404-376-1381 |  |  |
| Email Address: |  | P.O.#: |

Recommendation:

##### ANALYTICAL RESULTS

| Evaluation of | Tap Water | Recommended Max Levels |
| --- | --- | --- |
| Fluoride, ppm | 0.9 |  |
| Chloride, ppm | 22 | 250 |
| Nitrite, ppm | 3.6 | 1 as N |
| Nitrate, ppm | 0.3 | 10 as N |
| Sulfate, ppm | 108 | 250 |
| Sodium, ppm | 14 |  |
| Ammonia, ppm | ND | 0.5 as chloroamine |
| Potassium, ppm | 12 |  |
| Chlorine, ppm | ND | Detectable |
| Alkalinity, ppm | 320 | 150 |
| Total Dissolved Solids, ppm | 370 | 500 |
| Hardness, ppm | 378 | 100 |
| pH | 7.4 | 6.5-8.5 |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.