Type II

TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | # 2219 | 2/20/07 | 271633 |
| Address: |  | Tested By: |  |
| Quakertown FSU Richland Marketplace Hwy. 309 Quakertown, PA 18951 |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |

| Recommendation: |  |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Target Water Sample | WOT Water Sample | National Auto Water Sample | Recommended Max Levels |
| --- | --- | --- | --- | --- |
| Fluoride, ppm | 0.1 | 0.1 | 0.1 | 2 ppm |
| Chloride, ppm | 48 | 55 | 103 | 250 ppm |
| Nitrite, ppm | ND | ND | ND | 1 ppm as N |
| Nitrate, ppm | ND | 0.2 | 1.5 | 10 ppm as N |
| Sulfate, ppm | 47 | 29 | 53 | 250 ppm |
| Sodium, ppm | 9.4 | 67 | 48 | 250 ppm |
| Ammonia as Chloramine | ND | ND | ND | .5 ppm |
| Chlorine, ppm | ND | ND | ND | Detectable |
| Alkalinity, ppm | 170 | 85 | 105 | 150 ppm |
| Total Dissolved Solids, ppm | 240 | 190 | 420 | 500 ppm |
| Hardness, ppm | 156 | ND | 176 | 100 ppm |
| pH | 7.4 | 7.1 | 7.0 | 6.5 – 8.5 ppm |
| Turbidity | 0.35 | 0.00 | 0.75 | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com