Type II Component Recommended

TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | # 1029 | 3/4/08 | 304792 |
| Address: |  | Tested By: |  |
| Lake Conroe Parkway FSU 1321 West Davis St. Conroe, TX 77304 |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |

| Recommendation: | Type II Component Recommended |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Unfiltered Water Sample | No sample given for Filtered Water Sample | Recommended Max Levels |
| --- | --- | --- | --- |
| Fluoride, ppm | 0.3 |  | 2 ppm |
| Chloride, ppm | 70 |  | 250 ppm |
| Nitrite, ppm | ND |  | 1 ppm as N |
| Nitrate, ppm | ND |  | 10 ppm as N |
| Sulfate, ppm | 23 |  | 250 ppm |
| Sodium, ppm | 84 |  | 250 ppm |
| Chloramine | ND |  | .5 ppm |
| Chlorine, ppm | Detected |  | Detectable |
| Alkalinity, ppm | 260 |  | 150 ppm |
| Total Dissolved Solids, ppm | 340 |  | 500 ppm |
| Hardness, ppm | 128 |  | 100 ppm |
| pH | 7.6 |  | 6.5 – 8.5 ppm |
| Turbidity | 0.55 |  | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com